## Sheet1
Testsuite | Casename | Precondition | Steps | Expected | CaseType
Shutdown node
| Shutdown one node |  | 1. Choose a node in a cluster. The total number of OSD should be larger than replication number. 2. Power off one node 3. Wait for more than 30 minutes. 4. Check if data is re-distributed and the cluster become healthy. | All data are re-distributed and cluster becomes healthy eventually. | RAT
| Force shutdown one node |  | 1. Choose a node in a cluster. The total number of OSD should be larger than replication number. 2. Force power off one node, like cut the electric. 3. Wait for more than 30 minutes. 4. Check if data is re-distributed and the cluster become healthy. | All data are re-distributed and cluster becomes healthy eventually. | TOFT
| Shutdown all the nodes after shutdown cluster |  | 1. Run a cluster 2. Go to ezs3-console > Cluster Management > Shutdown Cluster 3. Shutdown all nodes in cluster 4. Boot all nodes in cluster | Should not hang during the shutdown and boot | FET
| Shutdown all nodes without cluster shutdown |  | 1. Run a cluster 2. Shutdown all nodes in cluster directly 3. Boot all nodes in cluster | It might hang during the shutdown, but after boot, all nodes in cluster can work normally and no data lost or corrupt. | FET
| Force shutdown all the cluster nodes |  | 1. Run a cluster 2. Shutdown all nodes in cluster forcely, like cut power 3. Boot all nodes in cluster | After boot, all nodes in cluster can work normally and no data lost or corrupt. | FET
| Transfer file through NFS when graceful poweroff |  | 1. Mount an NFS shared folder on client host using one of the takeover IP. 2. Use "ctdb ip" command to find the host the takeover IP resides. 3. Copy a large file to the folder. 4. Poweroff the node with text-mode console. | 1. Copy can complete after IP taken over by other node. 2. File content is identical to source. | FET
| Transfer file through NFS when force poweroff |  | 1. Mount an NFS shared folder on client host using one of the takeover IP. 2. Use "ctdb ip" command to find the host the takeover IP resided. 3. Copy a large file to the folder. 4. Force poweroff the node. | 1. Copy can complete after IP taken over by other node. 2. File content is identical to source. | FET
| Transfer file through iSCSI when graceful poweroff |  | 1. Attach an iSCSI volume on Windows host using one of the takeover IP. 2. Use "ctdb ip" command to find the host the IP resides. 3. Copy a large file to the folder/disk. 4. Force poweroff the node. | 1. Copy can complete after IP taken over by other node. 2. File content is identical to source. | FET
| Transfer file through iSCSI when force poweroff |  | 1. Attach an iSCSI volume on Windows host using one of the takeover IP. 2. Use "ctdb ip" command to find the host the IP resides. 3. Copy a large file to the folder/disk. 4. Poweroff the node with text-mode console. | 1. Copy can complete after IP taken over by other node. 2. File content is identical to source. | FET
Disconnect network
| Disconnect public network |  | 1. Configure IP take over 2. Pull out plug of one host's public NIC. 3. Connect the network cable back. | 1. Takeover IP address(es) of host is taken over by other host. | FET
| Disconnect storage network |  | 1. Configure IP take over 2. Pull out plug of one host's storage NIC. 3. Connect the network cable back. | 1. Step2, cluster will show unhealthy 2. Step3, Cluster can recover to healthy 3. Takeover IP address(es) of host is taken over by other host after pull out | FET
| Disconnect several nodes for short time |  | 1. Create a 5 nodes Cluster with 2 replications for data. 2. Disconnect 2 nodes from the cluster for about 15 minutes. 3. Reconnect these 2 nodes into cluster | The Cluster should work normally and no data lost/corrupt when nodes reconnected | FET
| Disconnect several nodes for long time |  | 1. Create a 5 nodes Cluster with 2 replications for data. 2. Disconnect 2 nodes from the cluster for more than 30 minutes. 3. Reconnect these 2 nodes into cluster | The Cluster should work normally and no data lost/corrupt when nodes reconnected | FET
| Disconnect the whole network of cluster |  | 1. Running a cluster. 2. Power off the switch which used to connect all nodes in cluster 3. Wait for 15 minutes. 4. Power on the switch again | The Cluster should work normally and no data lost/corrupt when network recovered | FET
Cluster full scenario
| Can read data when cluster is full |  | 1. Create cluster and enable gateways 2. Create NFS folder 3. Keep writing data to the NFS, when reaching 95% of one OSD capacity, write operation will be failed. 4. Try to read the data in NFS folder | Can read data successfully | TOFT
| Add node when cluster is full |  | 1. Create cluster and enable gateways 2. Create NFS folder 3. Keep writing data to the NFS, when reaching 95% of one OSD capacity, write operation will be failed. 4. Add one more OSD or node to the cluster to enlarge cluster capacity 5. Writing operation would succeed now | Writting data would succeed after cluster capacity enlarg | TOFT
Other HA scenairos
| iSCSI MPIO testing |  | 1. Attach an iSCSI volume on a host using MPIO settings. 2. Copy a large file to the folder/disk. 3. Disconnect the network of one Gateway Node in MPIO settings 4. Copy out the large file from the iSCSI volume to another folder | 1. The large file can be copied into the iSCSI volume successful 2. The large file can be copied out and the file content is correct | TOFT